Emergency Evacuation Procedure

Upon Hearing the Alarm:

- Ensure that all members of the public are made aware of the alarm and ask them to leave the building in an orderly manner

- Once you have confirmed the above leave the building as quickly as possible by the nearest safe exit making sure all doors are closed behind you.

- Do NOT run.

- Take any member of the public or visitor you may have with you to:

- The predetermined emergency/fire assembly point.  This could be changed dependant upon the location of the fire.

- Stay there and do not attempt to re-enter the building until specifically instructed to do so by a member of the Local Fire Authority

Upon Noticing a Fire:

- Sound the Alarm.

- If electrical equipment is involved switch off power at mains. ( If safe to do so.)

- Ensure your own means of escape is clear.

- Attack the fire using the appropriate extinguisher. ( If safe to do so.)

- If unsure of your own safety at any time, leave the building and report to the senior person present.

Signed:………………………………………………….  Dated:………………………