FIRE SAFETY ADVICE for

INDUSTRIAL, COMMERCIAL and WORKPLACE PREMISES

Note:-  All items in bold print are considered Priority for attention.

| Combustible Materials: | YES | NO |  |
| --- | --- | --- | --- |
| 1. | Is the workplace free of rubbish and combustible waste materials? | ( | ( | * |
| 2. | Is there a system for controlling the amounts of combustible materials and flammable liquids and gases that are kept in the workplace? | ( | ( |  |
| 3. | Are all the combustible materials and flammable liquids and gases stored safely and securely? | ( | ( |  |
| 4. | Are all heaters fitted with suitable guards and fixed in position away from combustible materials? | ( | ( |  |
| 5. | Is there a waste control system operating effectively which accommodates the regular removal of waste from the premises? | ( | ( |  |
| 6. | Do work procedures and practices avoid the use of combustible materials or processes that use heat? | ( | ( |  |
| Electrical Equipment: |  |  |  |
| 7. | Is the use of electrical extension leads and multi-point adaptors kept to a minimum? | ( | ( |  |
| 8. | Are all items of portable electrical equipment inspected regularly and fitted with correctly rated fuses? | ( | ( |  |
| 9. | Is the wiring of electrical installation inspected periodically by a competent person? | ( | ( |  |
| 10. | Are the flexes run in safe places where they will not be damaged? | ( | ( |  |
| Good Housekeeping: |  |  |  |
| 11. | Is there a designated smoking area provided with adequate ashtrays and are they emptied daily to exterior of building? | ( | ( |  |
| 12. | Is the upholstery of furniture in good condition? | ( | ( |  |
| 13. | Have suitable measures been taken to protect against the risk of arson? | ( | ( |  |
| 14. | Have measures been taken to ensure that smoke and flames cannot spread from one compartment within the building to another? | ( | ( |  |

|  | YES | NO |  |
| --- | --- | --- | --- |
| Fire Exits: |  |  |  |
| 15. | Are all gangways and escape routes free from obstructions? | ( | ( |  |
| 16. | Are the final exits always unlocked when the premises are in use? | ( | ( |  |
| 17. | Are the devices securing final exits capable of being opened immediately and easily without the use of a key? | ( | ( |  |
| 18. | Have plans been made and rehearsed regarding assisting disabled staff and visitors to evacuate the premises? | ( | ( |  |
| 19. | Are existing exits available for use and tested regularly? | ( | ( |  |
| 20. | Are the escape routes free from tripping and slipping hazards? | ( | ( |  |
| 21. | Are the steps and stairs in a good state of repair? | ( | ( |  |
| 22. | Are internal fire doors labelled as such and normally kept closed? | ( | ( |  |
| 23. | Are the self-closers on fire doors operating correctly to fully close the fire door on to its rebate after use? | ( | ( |  |
| 24. | Do the doors on escape routes open in the direction of travel? | ( | ( |  |
| 25. | Are escape routes clearly signed? | ( | ( |  |
| 26. | Are escape routes adequately lit? | ( | ( |  |
| 27. | Where escape lighting is installed is it in working order and is it maintained regularly? | ( | ( |  |
| Staff Training: |  |  |  |
| 28. | Have staff been trained in how to call the fire brigade, the use of the fire extinguishers and basic fire prevention? | ( | ( |  |
| Fire Detection: |  |  |  |
| 29. | Is there a procedure adopted that in the event of a fire a 999 call is made to the Fire Brigade? | ( | ( |  |
| 30. | Are the fire alarm call points clearly visible and unobstructed? | ( | ( |  |
| 31. | Have you asked your insurers for advice regarding the fire protection of your premises? | ( | ( |  |
| 32. | Is the fire alarm and if appropriate automatic detection system in good working order? | ( | ( |  |

|  | YES | NO |  |
| --- | --- | --- | --- |
| Fire Detection (Continued): |  |  |  |
| 33. | Is the fire alarm tested weekly? | ( | ( |  |
| 34. | Can the fire alarm be raised without placing anyone in danger? | ( | ( |  |
| 35. | Is the fire alarm system, and all its components, continuously monitored? | ( | ( |  |
| Fire Fighting Medium: |  |  |  |
| 36. | Are the fire extinguishers and fire blankets located suitably, clearly visible and ready for use? | ( | ( |  |
| 37. | Is an adequate number of suitable fire extinguishers provided? | ( | ( |  |
| 38. | Are the fire extinguishers serviced annually by a competent company or person? | ( | ( |  |
| 39. | Are any fixed fire-fighting installation in working order? | ( | ( |  |
| Staff Awareness: |  |  |  |
| 40. | Have you carried out a fire risk assessment? | ( | ( |  |
| 41. | If you employ five or more people, have you recorded the findings of the fire risk assessment? | ( | ( |  |
| 42. | Have you told your staff and/or their representatives about your findings? | ( | ( |  |
| 43. | If you have prepared a formal report, has it been shown to your staff or their representatives? | ( | ( |  |
| 44. | If you share the workplace with others, do they know about the risks that you have identified? | ( | ( |  |
| 45. | Are fire action notices displayed prominently throughout the workplace? | ( | ( |  |
| 46. | Are fire assembly points clearly identified and communicated to all your staff? | ( | ( |  |
| 47. | Has an emergency plan been drawn up in case of a major fire? | ( | ( |  |
| 48. | Are your staff aware of the emergency plan? | ( | ( |  |
| 49. | Has a procedure been established to review the fire risk assessment periodically? | ( | ( |  |

|  | YES | NO |  |
| --- | --- | --- | --- |
| General Security: |  |  |  |
| 50. | Is rubbish stored away from buildings in a secured location? | ( | ( | * |
| 51. | Do you walk around the entire building at the end of the working day to check for fire risks? | ( | ( |  |
|  | a. | Electrical equipment isolated where possible |  |  |  |
|  | b. | Smoking materials removed to outside |  |  |  |
|  | c. | Flammables etc locked away in approved stores |  |  |  |
|  | d. | All internal doors closed |  |  |  |
|  | e. | Heat sources removed or isolated |  |  |  |
| 52. | Has consideration been given to all cost-effective measures that could be taken to prevent the occurrence of arson? | ( | ( |  |
| 53. | Have all doors and windows been securely shut? | ( | ( |  |
| 54. | Is your security lighting sufficient and in working order? | ( | ( |  |
| * = Further information is available. |  |  |  |
| IN ALL CASES OF AN EMERGENCY:- |  |  |  |
| GET EVERYONE OUT, GET THE FIRE BRIGADE OUT AND STAY OUT. |  |  |